## Comments & Questions
2.6 Evacuation Plans | Comment | Questions
Recommendation 33.22 (c) states that: c) that the owner and manager of every high-rise residential building be required by law to draw up and keep under regular review evacuation plans, copies of which are to be provided in electronic and paper form to their local fire and rescue service and placed in an information box on the premises (p. 777).
Issue
The Government agrees that it is critical for RPs to have in place an evacuation plan to ensure that building occupants can safely exit the building in case of an emergency, and that Fire and Rescue Services are aware of the evacuation plan and have an appropriate operational response prepared should this be required. | This is contradicted in the proposals outlined in Section 2.7 | How is this achieved if disabled people do not have a PEEP with the appropriate assisted escape device?
The FSO already places a number of requirements on RPs to implement reasonable and practicable arrangements and procedures to safeguard relevant persons and prevent serious and imminent danger. Most RPs for multi-occupied residential premises should already have in place an evacuation plan to provide assurance to themselves and residents as well as demonstrate compliance with the Order. | Correct. Article 14(b) of the RR(FS)O 2010 states that "in the event of danger, it must be possible for persons to evacuated the premises as quickly and as safely as possible". However, this is rarely if ever enforced. https://www.legislation.gov.uk/uksi/2005/1541/article/14/made | Why has Article 14(b) not been enforced where it applies to vulnerable/disabled people?
To avoid Fire and Rescue Services taking on additional administrative burdens which might draw resource away from protection work it may be practical for RPs to only share a digital version of the evacuation plan with Fire and Rescue Services. The benefits of sharing a paper version of the evacuation plan would be limited given that the Inquiry recommendation also states that a copy of the plan should be placed in a Premises Information Box. | The proposals below will involve the FRS in a massive amount of work as they will have to be involved in testing and training on multiple assisted escape devices and complex impairments to ensure the safe evacuation of vulnerable/disabled people which is currently the responsibility of the RP | How will the FRS additional activities be funded?
Proposals
Proposal 20: In line with the Inquiry’s recommendation, we propose to require that relevant RPs draw up and keep under regular review evacuation plans, copies of which are to be sent electronically to Fire and Rescue Services and placed in a Premises Information Box on site (see the related proposal in section 2.4). We do not propose that RPs provide a paper copy of the evacuation plan to Fire and Rescue Services. | It is logical for evacuation plans to be provided in digital format as they can then be uploaded on to the FRS operational database but this contradicts the proposals outlined in 2.7 PEEPs | How will RPs place copies of a plan in a premises box if only a digital copy is required?
Proposal 21: We also propose to test whether this proposal should be extended to cover all multi-occupied residential buildings of 11 metres and above, rather than specifically highrise residential buildings of 18 metres and above or more than six storeys (whichever is reached first). |  | Will Article 14(b) remain the same for all buildings under 11 metres?
We expect that the evacuation plan would be dependent on the design of the building and the evacuation strategy in place, for example ‘Stay Put’ versus ‘Simultaneous Evacuation’. Any change in the evacuation plan would require an updated plan to be issued to the local Fire and Rescue Service and placed in the Premises Information Box. We propose to supplement these proposals with further guidance to assist both compliance and enforcement activity. | Everybody has the right to life and buildings fail - an evacuation plan for all relevant persons should be in place and tested. This will require major changes to Statutory Guidance, Building Regulations and BS standards | How does this address the submissions to the Grenfell Inquiry Phase 1 submissions/hearings form the EHRC and firefighters
Questions
Q89. To what extent do you agree with the proposed approach to make regulations as described above? Please explain.
Strongly agree Tend to Agree Neither agree nor disagree Tend to Disagree Strongly disagree Don’t know | Strongly agree: RPs to draw up and keep under regular review evacuation plans as long as these relate to ALL residents, non-disabled and disabled people Strongly disagree: That a separation is being made between evacuation of high rise buildings and others covered by the RR(FS)O - vulnerable/disabled people should have the same rights wherever they are as these are protected by international/national legislation | Why are vulnerable/disabled peoples rights different according to the type of accommodation that they live in?
Q90. Do you think this proposal should be extended to cover all multi-occupied residential buildings of 11 metres and above? Please explain.
Strongly agree Tend to Agree Neither agree nor disagree Tend to Disagree Strongly disagree Don’t know | See comment above
Q91. What information do you think should be included in an evacuation plan? | Where vulnerable/disabled people are located What their impairment is and how this effects their ability to escape Who their 'buddies' are Emergency Voice Communiations (EVC) present or not with procedures to support communications in an emergency Refuges present or not Assisted escape devices and have people been trained in their use
Q92. Do you have any other comments to further support your answers above?
2.7 Personal Emergency Evacuation Plans | `
Recommendation 33.22 (e) and (f) states: e) (…) that the owner and manager of every high-rise residential building be required by law to prepare personal emergency evacuation plans for all residents whose ability to self-evacuate may be compromised (such as persons with reduced mobility or cognition); | These recommendations strengthen the law and meets the comments made by the EHRC on evacuation of disabled people
f) (…) that the owner and manager of every high-rise residential building be required by law to include up-to-date information about persons with reduced mobility and their associated PEEPs in the premises information box (p. 777). | As above
Issue
The Government has established a Fire Protection Board, supported by £10m of new funding, that is leading a Building Risk Review Programme to ensure, in line with the MHCLG Secretary of State‘s commitment to Parliament on 5 September 2019, that all high-rise 67 residential buildings in England of 18 metres and above are inspected or reviewed by the end of 2021. | See: https://www.nationalfirechiefs.org.uk/News/Page-2/nfcc-responds-to-building-safety-announcements/249892 Government Debate Pack "Fire risk in flats and shared housing" CDP 2020/0015 - no mention of evacuation planning in debate https://commonslibrary.parliament.uk/research-briefings/cdp-2020-0015/ Fire Safety: Risk Prioritisataion in Existing Buildings - call for Evidence (Closed) https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/859305/Call_for_Evidence_risk.pdf A reformed building safety regulatory system: https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/877628/A_reformed_building_safety_regulatory_system_-_gvt_response_to_the_Building_a_Safer_Future_consultation.pdf | Who was involved in the debate? Who sit on the Fire Protection Board? Who was invited to contribute in the Fire Safety: Risk Prioritisation Call for Evidence? Why is there no mention of PEEPs or evacuation planning in any of the calls for evidence in the above documents?
The first stage of the Building Risk Review Programme was to review the fire safety in all ACM clad high-rise buildings over 18 metres in height, which was completed in March 2020. All buildings have been either visited and deemed safe, remediation has now taken place, or, in a minority of cases, continual monitoring measured have been put in place by the local FRS and building owners to manage and maintain the interim measured, and continually assess risks.
We propose to require that RPs in high-rise residential buildings provide relevant details of residents who self-identify as requiring assistance to evacuate to local Fire and Rescue Services and to place these in the Premises Information Box. As well as self-identifying to the RP, vulnerable residents would also need to provide prior consent before their information could be provided to their local Fire and Rescue Service and placed in the Premises Information Box. We consider that the relevant details should include the location 32 Guidance_NFCC_Simultaneous_Evacuation 69 of the individual and will seek views through this consultation on what other information should be provided. This information must be kept up to date, and residents should notify the RP where their situation changes. | Dr Barbara Lane's summary report to the Grenfell Tower Inquiry Phase 1: https://assets.grenfelltowerinquiry.org.uk/Dr%20Barbara%20Lane%27s%20report%20on%20interim%20recommendations%20BLAI00000001.pdf NFCC supports the LGA "Fire Safety in Purpose Built Block of Flats" which has been deemed as illegal in Dr Barbara Lane's submission to the grenfell Tower Inquiry NFCC Guidance: https://www.nationalfirechiefs.org.uk/write/MediaUploads/NFCC%20Guidance%20publications/Protection/01052018NFCC_simultaneous_Evacuation_guidance_final_doc.pdf: NFCC Guidance refers only to buildings with staff and states that: there may need to be a change to a temporary evacuation of all residents Section 5.7: residents to be surveyed and seek to agreed a PEEP with each of these residents | How does a disabled resident evacuate if their flat is on fire if they do not have a PEEPS or if they require an assisted escape device? How can the FRS revert to a total evacuation if there is no plan that has been documented and tested? Why must assistance only be provided by staff not family, friends and neighbours. Normally these are the most appropriate buddies as they know the person and their capabilities? How are the millions of disabled people living in non-staffed buildings protected in the event of fire? How will building managers identify vulnerable/disabled people and keep this information up-to-date?
There are a number of practical challenges to the delivery of this recommendation, however, that make it challenging to implement as written. In developing our own proposals, we have sought to give effect to the underlying objectives of the Inquiry’s recommendation whilst being mindful of the need to ensure that it can be delivered on the ground. | International legislation makes no exception on whether an issue is challenging Universal Declaration of Human Rights: Article 3: Everyone has a right to life, liberty and security of person Article 7: All are equal before the law and are entitled without any discrimination to equal protection of the law. all are entitled to equal protection against any discrimination in violation of this declaration and against any incitement to such discrimination Article 30: Nothing in this declaration may be interpreted as implying for any State, group or person any right to engage in any activity or to perform any act aimed at the destruction of any of the rights and freedoms set forth herein UN Convention on the Rights of Persons with Disabilities: Article 4 - General obligations Article 5 - Equality and non-discrimination Article 8 - Awareness-raising Article 9 - accessibility Article 10 - Right to life Article 11 - Situation of risk and humanitarian emergencies Equality Act 2010 - mirrors the above international law Public Sector Equality Duty - broad purpose of the PSED is to integrate consideration of equality and good reactions into the day-today business of public authorities | Why is the UK Government willing to breech international and national equality legislation because it is challenging?
Personal Emergency Evacuation Plans (PEEPs) are routinely put in place in workplaces such as offices, hospitals and care homes, where a third party is present, or equipment is available and can be used to facilitate the evacuation of a person whose ability to selfevacuate may be compromised. | There has been no death from a fire in workplaces identified
PEEPs are not routinely in place in multi-occupied residential buildings due to practical challenges with their implementation in that context. These include: the lack of personnel available to assist during an evacuation; the complexity of any particular building and the roles of those responsible; high turnover of residents; and data protection concerns. | This constitutes a major breech on the rights of disabled people. This statement confirms that the UK Government has not enforced international and national law in relation to disabled peoples rights. | Why has there been no enforcement of the law (RR(FS)O Article 14(b)? Why is the UK Government willing to breech international and national law?
The Public Inquiry’s Phase 1 report found that ‘Stay Put’ failed at Grenfell Tower on the night of 14 June 2017 as the ACM cladding on the building acted as a source of fuel for the fire and compromised compartmentation did not prevent the internal spread of fire and smoke within the building. However, it is also the case that in most multi-occupied residential buildings, the National Fire Chiefs Council advice is that ‘Stay Put’ remains an appropriate strategy where compartmentation works to stop the spread of fire, and there are suitably protected means of escape. It is generally safer tor residents to stay inside their flats unless the heat and smoke from the fire is affecting them, in which case they should leave. Different arrangements are in place for evacuation of buildings with unsafe cladding, such as ‘Waking Watch’. ‘Stay Put’ is a well-established strategy, where a building is built and maintained properly, but it is right that we subject that strategy to a full and detailed examination. A joint Home Office and MHCLG steering group was set up in December 2019 to support a technical review of ‘Stay Put’. | Refer to: Grenfell Update: Written statement - HCWS257 https://www.parliament.uk/business/publications/written-questions-answers-statements/written-statement/Commons/2020-06-02/HCWS257/ NFCC has a key role in the Stay Put Technicl Steering group LFB Policy Number 633: https://www.london-fire.gov.uk/media/4305/lfc-304x-d-high-rise-firefighting-policy-663.pdf Section 29 - 41 defines equality considerations Section 5: defines the difference between an evacuation and a rescue | Why has the UK Government has excluded a proposal for PEEPs for all disabled people in this call for evidence in advance of the Home Office and MHCLG Steering Groups findings? Does the steering group include representatives of disabled people?
In the absence of personnel within high-rise residential buildings who could assist with evacuations, the RPs could directly inform the Fire and Rescue Services about those individuals who may require assistance. The RPs would need to know the location within the building of those individuals and pass this information to the FRS so that, in the event of an incident, they would seek to provide assistance. For this process to work, residents would first need to identify themselves to RPs as requiring assistance in the event of an evacuation. Residents would also need to provide their consent to this information being shared with Fire and Rescue Services and placed in the Premises Information Box. Measures would also be required to ensure the safety and security of this data. | It does not require 'personnel' to assist with evacuations. Protocol for 'buddies' to assist disabled people is the use of family, friends and neighbours who know the person, their impairment and capabilities. RR(FS)O Article 18.—(1) The responsible person must, subject to paragraphs (6) and (7), appoint one or more competent persons to assist him in undertaking the preventive and protective measures. RR(FS)O Article 18 (5) A person is to be regarded as competent for the purposes of this article where he has sufficient training and experience or knowledge and other qualities to enable him properly to assist in undertaking the preventive and protective measures. | Why is the UK Government insisting that there must be 'staff' or 'personnel' to assist a disabled person to evacuate? Why is the onus on the disabled person to identify themselves? Why is there no requirement for the RP to implement a system that enables the vulnerable person to identify themselves?
It would be critical to keep any information on vulnerable occupants up to date. Fire-fighters responding to an operational incident could only act on the information available at the time, potentially risking their lives or losing precious time trying to locate a resident who was not there or is no longer vulnerable. | This will result in evacuations done on the hoof - no testing of the plan involving the FRS | How long will the delay be if FRS have to open a premises box, read the information and implement the a plan when attending a fire?
The one exception to this approach would be where a known higher risk multi-occupied residential building has a ‘Waking Watch’ on site, which is a temporary measure to mitigate known risks. In such cases, there would be personnel in place who could assist with the evacuation of vulnerable occupants. On those buildings that have changed from a 'Stay Put’ to a ‘Simultaneous Evacuation’, there are additional provisions already in place such as the requirement to have on-site staff as part of the ‘Waking Watch’, who patrol the building, are trained and can assist with the evacuation if needed, with the consent and cooperation of the resident. The National Fire Chiefs Council has already issued guidance to support a temporary change to a Simultaneous Evacuation strategy in purpose-built block of flats. The guidance advises that where a block of flats has a ‘Waking Watch’ present, there should also be PEEPs in place32, subject to the cooperation of the resident. Under this guidance a PEEP is defined as “A documented plan for the evacuation of people who are unable to selfevacuate, and/ or require some assistance to do so.)” This sits alongside provision of information to residents so that they are informed as soon as practicable about the reasons for the change from a Stay Put to a Simultaneous Evacuation strategy, its purpose and what actions will be taken in the event of a fire. | AS above, there is no requirement for personnel to be present. Buddies are normally those known to the disabled person who have agreed to help their vulnerable/disabled friends/family members or neighbours. Again this is tied into the lGA and NFCC Guidance which has been deemed as not meeting the legal requirement during the Grenfell Tower Phase 1 Inquiry by both the EHRC and Dr Barbara Lane | How does the policy of only applying this to buildings with a 'waking watch' meet the requirements of international and national legislation?
Proposals |  | Why is there not a proposal for meeting the recommendations in full?
Proposal 22: We propose to deliver the Inquiry’s underlying objective that residents who need help to evacuate in the event of fire can access that assistance, whilst being mindful of the challenges of establishing PEEPs in multi-occupied residential buildings. | The underlying objective of the recommendation is to ensure that all relevant people, including vulnerable/disabled people have the same opportunity for means of escape without discrimination. Discrimination could be removed by ensuring that all means of escape fire door leading to a pace of total safety were locked immediately once a fire occurs and can ony be unlocked once the FRS arrive - this would mean that all residents were in the same situation. Non-disabled people would never acccept this but this is the reality for disabled people!!!!
We propose to require that RPs in high-rise residential buildings provide relevant details of residents who self-identify as requiring assistance to evacuate to local Fire and Rescue Services and to place these in the Premises Information Box. As well as self-identifying to the RP, vulnerable residents would also need to provide prior consent before their information could be provided to their local Fire and Rescue Service and placed in the Premises Information Box. We consider that the relevant details should include the location 32 Guidance_NFCC_Simultaneous_Evacuation 69 of the individual and will seek views through this consultation on what other information should be provided. This information must be kept up to date, and residents should notify the RP where their situation changes. | This is exactly the opposite to the recommendation as it removes the legal requirement for evacuation planning (PEEPs) for the vast majority of vulnerable/disabled people who are currently protected under Article 14(b) of the RR(FS)O. It also breeches international and national legislation (see above). This is evidence of institutional prejudice and discriminates against vulnerable/disabled people who will have to wait to be 'rescued' by the FRS on arrival. It also breeches international and national law. This proposal removes the legal responsibility for evacuation from the RP placing the legal responsibility on the FRS to carry out evacuations - currently they are only required to undertake 'rescues' and so have a defence in law in the event of injury or death of a vulnerable/disabled person during a rescue | Will the information in premises boxes include the use of assisted escape devices required to evacuate disabled people (eg spinal injuries, brittle bones etc? Will the FRS be given additional budgets to ensure that they are trained in the use of diverse assisted escape devices and how to move vulnerable/disabled people in the event of an evacuation? How will fighfighters be protected from legal action, including gross negligence manslaughter charges, in the event of injuries/death of a disabled person that they have evacuated (rather than 'rescued') Who will the lawyers chase following an incident - the FRS organisation or the individual firefighter? Will the FRS be given greatly increased budgets to ensure that they are able to undertake test drills for the evacuation of vulnerable/disabled people?
Proposal 23: To support this approach, we also propose to require that the relevant RP provide information to residents about the process through which they can provide the necessary information, in order to declare that they need assistance. This should also include guidance to residents on the importance of keeping such information up to date. | It is not the vulnerable/disabled persons responsibility to ensure their own safety although it could be seen as reasonable for them to do so. The RP must provide due diligence in ensuring that anyone who is vulnerable has been assessed as able to evacuate - many disabled/elderly people will answer that they are able to evacuate when in reality they would not be able to because they don't understand the issues. | Will a vulnerable/disabled person recognise the issues and challenges presented to themselves: A hearing impaired person appreciate that they might not hear a fire alarm when they have removed their hearing alarm at night? The effect on medication for depression, sleeping on their ability to react? How long it would take them to evacuate out of the building? How will an RP or FRS evaluate the effect of vulnerable/disabled people self-evacuating if this has not been planned for and tested? Who will purchase assisted escape devices etc and who will be trained in their use? Whose legal responsibility is it in the case of death/injury of a firefighter undertaking the evacuation or a vulnerable/disabled person whose impairment is exacerbated by the wrong evacuation method?
Proposal 24: Where a high-rise multi-occupied residential building has been identified as being higher risk and a 'Waking Watch’ is in place (in buildings with un-remediated cladding or under interim measures and in which ‘Stay Put’ is suspended due to heightened risk), the RP would be required to prepare a PEEP for each resident who self-identifies as requiring assistance with evacuation. In such buildings, there should be personnel available and able to assist with an evacuation. We propose that in buildings with ‘Waking Watch’ the RP should be required to prepare a PEEP for each resident who self-identifies to them as requiring assistance with evacuation. The RP will be required to keep it up to date and, with the explicit consent of the resident, share it with the local fire service to assist with their planning and response to any incident. | Grenfell Tower did not have a 'waking watch' therefore this proposal does not address the Phase 1 Inquiry recommendations. As above, it is not the responsibility of the vulnerable/disabled person to analyse their own evacuation requirements. | How will this address the recommendations of the Grenfell Tower Phase 1 Inquiry given that their was no waking watch present? Will the FRS be given additional budgets to undertake planning, testing and training on diverse assisted escape devices?
We propose to supplement these proposals with further guidance to assist both compliance and enforcement activity. | The law is currently explicit in placing the legal responsibility on the RP of the building. These proposals will require major changes to both statutory guidance, building regulations, British Standards and all other guidance on the subject | Have groups/charities involved with disabled people been notified of this consultation in line with Government principles for consultation exercise. Were these groups involved in previous consultation exercise and if not why not?
Questions
Q93. To what extent do you agree with the proposed approach to make regulations as described above? Please explain.
Strongly agree Tend to Agree Neither agree nor disagree Tend to Disagree Strongly disagree Don’t know | Strongly disagree: These proposals are: Highly discriminative against disabled people and does not meet international/national legislation Leave the FRS likely to be pursued for organisational and personal litigation Leave millions of vulnerable and disabled people vulnerable in the event of a fire Will be extremely costly to implement as FRS authorities will need increased manpower and resources in order for them to implement them
Q94. To what extent do you agree that a RP should notify their local Fire and Rescue Service of any residents who cannot self-evacuate (subject to the resident’s consent and self-identification)?
Strongly agree Tend to Agree Neither agree nor disagree Tend to Disagree Strongly disagree Don’t know | Strongly agree with the following caveat: It is not up to the vulnerable/disabled person to self-identify as needing assistance. Refer to comments to proposal 23.
Q95. What information, other than location, do you think should be provided to Fire and Rescue Services in relation to residents who cannot self-evacuate? | A full PEEP covering: Where vulnerable/disabled people are located (this may include multiple locations within the building) What their impairment is and how this effects their ability to escape plus if there is any danger of excerbating their impairment) Who their 'buddies' are Emergency Voice Communiations (EVC) present or not with proccedures to support communications in an emergency Refuges present or not Assisted escape devices and who has been trained in their use
Q96. To what extent do you agree that a Responsible Person should notify their local Fire and Rescue Service of any residents who cannot self-evacuate (subject to the resident engagement, resident self-identification and consent)?
Strongly agree Tend to Agree Neither agree nor disagree Tend to Disagree Strongly disagree Don’t know | Srongly agree with the following caveat: It is not up to the vulnerable/disabled peron to self-identify as needing assistance. Refer to comments to proposal 23.
Q97. Please indicate what information you would like to see included in the supporting guidance? | Current guidance is fit for purpose and should remain the same for all residential accommodation covered by the RR(FS)O btoh currently and in the future
Q98. Do you have any other comments to further support your answers above? | Loads!!!!!

## EHRC submissions
EHRC
Relevant documents
|  | Watchdog confirms Grenfell breached human rights laws | https://www.equalityhumanrights.com/en/our-work/news/watchdog-confirms-grenfell-breached-human-rights-laws
|  | Following Grenfell: EHRC involvement | https://www.equalityhumanrights.com/en/following-grenfell/following-grenfell-why-commission-involved
|  | Reseasrch report 126: access to public services & support | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-residents-access-services-support.pdf
|  | Summary of submissions: Phase 1 | https://www.equalityhumanrights.com/en/publication-download/summary-submissions-following-phase-1-grenfell-tower-inquiry | page 6 | Evidence given to the inquiry by firefighters raises matters relevant to human rights laws. Consistent with protecting the right to life, the authorities have a duty to ensure that fire safety training and protocols are fit for purpose.
|  |  |  | page 7 | Human rights case law has established that the authorities should take particular care where a risk to life is posed to a vulnerable group. Grenfell Tower posed a distinct threat to life for vulnerable groups – children, pregnant women, older people, disabled people and those not fluent in English.
The evidence suggests that the authorities failed, and continue to fail, to take appropriate protective measures that adequately corresponded to the needs of particularly vulnerable groups. We consider that this should be addressed by the
|  |  |  | page 8 | In addition to looking at the Grenfell Tower fire from a human rights perspective, we have also assessed the authorities’ equality and non-discrimination duties. There are clear breaches.
For example, there is no legal requirement to ensure that high-rise buildings have practical and effective measures for disabled people, elderly people, pregnant women or those with children to raise the alarm, to evacuate or to find refuge.
|  |  |  | page 9 | By failing to take appropriate protective measures to meet the needs of particularly vulnerable groups, the relevant authorities did not fulfil their duty to protect the right to life. Grenfell Tower posed a threat to life for vulnerable groups, such as children, pregnant women, older people, disabled people (including those with cognitive, mobility or sensory impairments) and those who were not fluent in English. Appropriate evacuation policies must be effectively communicated and understood by all residents, especially those living in high-rise buildings.
|  | EHRC commission full submission | https://www.equalityhumanrights.com/sites/default/files/grenfell-inquiry-phase-1-submissions-january-2019.pdf | Section 98 (5) | (5) Daniel Brown, of the LFB, stated that “the whole evacuation – we can’t – when a fire happens, if it has an alarm system, that is the evacuation point. By the time we get there, the evacuation point is lost. There is no chance to evacuate. The whole point of having an evacuation procedure is you have an integrated fire alarm. We don’t do evacuations; we do assist and rescues. There is no evacuation procedure we can do. It’s impossible. You’re asking people to come down through stairs that could be smoke-logged, they might not make it” [12/179].
|  |  |  | Section 101 | In circumstances where a risk to life is posed to a vulnerable groups, the case- law makes it clear that the State should take particular care to ensure that measures taken “correspond to [those persons’] special needs”: Jasinskis §59. The Commission considers that Grenfell Tower posed a particular threat to life for vulnerable groups, such as children, pregnant women, elderly people, disabled people and those who were not fluent in English (that is, from certain minority/racial/national groups). The Commission is of the view that the Government failed to take protective measures that adequately corresponded to the needs of these vulnerable groups. As well as raising issues under equality and non-discrimination law (which is addressed below §§119-120), this also raises issues in respect of Article 2 ECHR.
|  |  |  | Section 115 | The overwhelming weight of the fire service evidence demonstrated that no priority was given to, or maintained, in respect of calls from those who were exceptionally vulnerable. This tended to be explained on the basis that the extent of the fire meant that all residents were a priority for rescue [48/68/22ff]. Although some firefighters did assert that specific priority was given to calls from residents affected by difficulties due to age or disability etc, it is by no means clear what that system of prioritisation was or how it was applied to meaningful effect on the night [15/120/16ff]; [15/158/1ff]; and [30/47/20ff].
|  |  |  | Section 117 | As noted in the Todd Report, the Fire Safety Order 2005 does not include any provision for arrangements of evacuation of a vulnerable resident when a fire occurs in their own flat. The Todd Report went on to state that this “does not imply that nothing can, or should, be done to address the risk to vulnerable residents from a fire within their own flat. On the contrary, this is important, but it is a matter for multi-agency co-operation to identify vulnerable persons, assess their risk and provide appropriate support” (see §§2.103 - 2.104).
|  |  |  | Section 118 | The Lane Report at §2.20.11(e) expressed concern about how the absence of a statutory requirement to fit blocks of flats with a means of raising an alarm or providing announcements would “affect those who require assistance to evacuate from high-rise residential buildings” (at §2.20.11(e)). According to Dr Lane, “the lack of provision [in the LGA guidance] for persons requiring assistance in a high rise residential building is unacceptable, and results in a substantial breach of the functional requirement for means of escape under the Building Regulations. In my view, the LGA guidance should be updated to adequately deal with persons requiring assistance from ‘general needs’ blocks” (§2.25.10). In her oral presentation, Dr Lane noted that “[t]here is no provision required in the statutory guidance for residential buildings, unlike other building types, to provide equipment for [persons requiring assistance], so there is no provision made for them to either contact building management, should they even be present in a building, nor to communicate directly with the fire service present in the building. The person can only make a personal 999 call. In other building types, refuges with communication devices are required” [5/35/3ff].
|  |  |  | Section 119 | As will be apparent, the failures by the State identified above give rise to a number of equality and discrimination issues. The Commission believes that these require consideration by the Inquiry. On the evidence available the
Commission considers that a number of the failures identified above and below indicate a breach of the State’s equality and non-discrimination duties. They include:
(1) The absence of any legal requirement to ensure that high-rise residential buildings are fitted with means that would allow disabled people, elderly people, pregnant women or those with children or otherwise needing assistance, to raise the alarm, to evacuate from high-rise residential buildings or to find refuge in a safe place (§118 above).
(2) The failure to take account of the special needs of disabled people, elderly people or pregnant women and (particularly very young) children when allocating housing in the upper floors of a tower block. No regard appears to have been had as to how their safety would be secured in the event of an urgent need to evacuate.77
|  |  |  | (5) | The failure to provide fire safety advice to disabled and elderly people and pregnant women or those with children residing in Grenfell Tower on the steps they should take in the event of a need to urgently evacuate despite the greater risk to them posed by a fire (§§99-100 above).
|  |  |  | (7) | The absence of any plan for the evacuation of disabled people, elderly people or pregnant women and women with (particularly very young) children in the event of an urgent need to evacuate Grenfell Tower in
advance of the night of the fire, or on the night of the fire despite the greater risk to them posed by a fire (§§94(4), 95).
|  |  |  | (8) | The absence of any prioritising of disabled people, elderly people or pregnant women and people with (particularly very young) children for evacuation on the night of the fire despite the greater risk to them posed by the fire (§§113-115).
|  |  |  | Section 180 | The Commission has seen no evidence which would indicate that the PSED was discharged (i) in the formulating of housing allocation policy; (ii) in the preparation of fire safety plans; (iii) in the development of guidance; (iv) in the provision of information, or (v) in the development of Building Regulations.
Following Grenfell Briefing Papers
|  | The Human Rights and Equality Dimension | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-the-human-rights-and-equality-dimension.pdf
|  | The Right to Life | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-the-right-to-life_0.pdf
|  | The Right to adequate and safe housing | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-briefing-right-to-adequate-safe-housing_0.pdf
|  | The right to be free from torture and cruel, inhuman or degrading treatment | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-the-right-to-be-free-from-torture-and-cruel-inhuman-o_1.pdf
|  | Equality and non-discrimination | https://www.equalityhumanrights.com/sites/default/files/grenfell-briefing-equality-non-discrimination_0.pdf
|  | Children's Rights | https://www.equalityhumanrights.com/sites/default/files/following-grenfell-childrens-rights.pdf